## Aluminum Style Guide
2021 Akron Brass Pyrolite® Nozzle Style Guide
For product not listed below including brass and other nozzles refer to akronbrass.com
Turbojet® Nozzles & Tips
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Style | Standard Description | Flows GPM/LPM | Pressures PSI/BAR | Certifications
1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG | 13-25-40-60/50-100-150-230 | 100/6, 7 | NFPA, FM, EN - Specify when ordering
1703 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | 13-25-40-60/50-100-150-230 | 100/6, 7 | NFPA
1704 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG | 18-30 or 13-23-30/70-115 or 50-90-115 | 100/6, 7 | NFPA, EN - Specify when ordering
1711 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | 18-30 or 13-23-30/70-115 or 50-90-115 | 100/6, 7 | NFPA
1772 | Low-Range Turbojet 180° Fog 1" (25 mm) or 2-1/2" (65 mm) Inlet & PG | 13-25-40-60/50-100-150-230 | 100/6, 7 | NFPA
1714 | Turbojet Tip with 1-1/2" (38 mm) Inlet | 30-60-95-125/115-230-360-475 | 75, 100/5, 6, 7 | NFPA
1720 | Turbojet Nozzle with 1-1/2" (38 mm) Inlet & PG | 30-60-95-125/115-230-360-475 | 75, 100/5, 6, 7 | NFPA, FM, EN - Specify when ordering
1763 | Wide-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | 30-95-125-150-200/115-360-475-550-750 | 75, 100/5, 7 | NFPA, FM - Specify when ordering
1766 | Wide-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | 30-95-125-150-200/115-360-475-550-750 | 75, 100/5, 7 | NFPA
1723 | Mid-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | 95-125-150-200/360-475-550-750 | 75, 100/5, 7 | NFPA
1737 | Mid-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | 95-125-150-200/360-475-550-750 | 75, 100/5, 7 | NFPA
1744 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | 125-150-200-250/475-550-750-950 | 75, 100/5, 7 | NFPA
1733 | High-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | 125-150-200-250/475-550-750-950 | 75, 100/5, 7 | NFPA, FM, CCCF - Specify when ordering
3716 | Industrial Turbojet Nozzle with 1-1/2" (38 mm) Inlet, no PG | 60-95-125/230-360-475 | 100/7 | NFPA, FM - Specify when ordering
3721 | Industrial Turbojet Nozzle with 1-1/2" (38 mm) Inlet with PG | 60-95-125/230-360-475 | 100/7 | NFPA, FM - Specify when ordering
3725 | High-Range Industrial Turbojet Nozzle 2-1/2" (65 mm) Inlet, no PG | 120-150-200-250/450-550-750-950 | 100/7 | NFPA, FM - Specify when ordering
Assault Nozzles & Tips
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Style | Standard Description | Flows at Pressure |  | Certifications
4802 | Low-Range Assault Nozzle with 1" (25 mm) Inlet & PG | GPM/PSI: 13, 25, 40 @ 100; LPM/BAR: 50, 100, 150 @ 7 |  | NFPA, FM, EN - Specify when ordering
4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG | GPM/PSI 95, 125, 150, 175, 200 @ 100; 125, 150, 175, 200 @ 75; 150, 161, 175, 185 @ 50; LPM/BAR 360, 475, 550, 660 750 @ 7; 360, 475, 550, 660, 750 @ 6; 475, 550, 660, 750 @ 5; 550, 610, 660, 795 @ 3.5 |  | NFPA, FM - Specify when ordering
4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | GPM/PSI 95, 125, 150, 175, 200 @ 100; 125, 150, 175, 200 @ 75; 150, 161, 175, 185 @ 50; LPM/BAR 360, 475, 550, 660 750 @ 7; 360, 475, 550, 660, 750 @ 6; 475, 550, 660, 750 @ 5; 550, 610, 660, 795 @ 3.5 |  | NFPA
4826 | High-Range Assault Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | GPM/PSI: 200, 250, 300, 350 @ 100; 200, 250, 300 @ 75; 210, 250 @ 50; LPM/BAR: 750, 950, 1140, 1325 @ 7; 750, 950, 1140 @ 5; 795, 950 @ 3.5 |  | NFPA, FM - Specify when ordering
4824 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | GPM/PSI: 200, 250, 300, 350 @ 100; 200, 250, 300 @ 75; 210, 250 @ 50; LPM/BAR: 750, 950, 1140, 1325 @ 7; 750, 950, 1140 @ 5; 795, 950 @ 3.5 |  | NFPA
Break-apart Nozzles
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Mix and Match custom configurations by combining fog tips, smooth bore tips, and shutoffs
Shutoffs, Tips and Other Nozzles
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Style | Standard Description | Orifice Sizes - Inches | Orifice Sizes - mm | Notes
2431 | Saber™ Shutoffs with Integral Tip with 1-1/2" (38 mm) Inlet & PG | 7/8, 15/16, 1, 1-1/8, 1-1/4 | 22, 24, 25, 29, 32
2433 | Saber™ Shutoffs with Integral Tip with 2-1/2" (65 mm) Inlet & PG | 7/8, 15/16, 1, 1-1/8, 1-1/4 | 22, 24, 25, 29, 32
2102 | Shutoff with 1" (25 mm) Waterway with 1" (25 mm) Inlet & PG
2126 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
2390 | Axial Playpipe 2-1/2" (65 mm) Inlet
1441 | Pyrolite Shutoff with Dual Stacked Tips with 1-1/2" (38 mm) Inlet & PG | 15/16 x 1/2 | 24 x 13
1443 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG | 1-1/8 x 1/2 | 29 x 13
1445 | Blitz Tip - 1-1/2" (38 mm) Inlet & PG | Reference 1499 Tip |  | SHIPS ONLY WITH PISTOL GRIP
1446 | Blitz Tip - 2-1/2" (65 mm) Inlet & PG | Reference 1499 Tip |  | SHIPS ONLY WITH PISTOL GRIP
1499 | Straight Tip 1-1/2" (38 mm) Plain Tip 5" | 7/8, 15/16, 1, 1-1/6, 1-1/8, 1-3/16, 1-1/4, 1-3/8 | 22, 24, 25, 28, 29, 30, 32, 35
416 | Pyrolite® 1-1/2" (38 mm) Tread Tip with Rubber Bumper - Pyrolite Only 6" | 7/8, 1, 1-1/8, 1-1/4 | 22, 25, 29, 32
439 | Dual Stacked Tip 1-1/2" (38 mm) | 15/16x1/2, or 1-1/8x1/2 | 24x13, or 29x13
1417 | Straight Tip 1-1/2" (38 mm) Plain Tip 3-3/4" | 3/8, 1/2, 3/4, 7/8, 15/16, 1, 1-1/8 | 22, 25, 29, 32
1420 | Triple Stacked Tip 1-1/2" (38 mm) | 1x1-1/8x1-1/4" | 25x29x32
1820 | UltraJet - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | 3/4, 7/8, 15/16, 1" | 19, 22, 24, 25 | SHIPS ONLY WITH PISTOL GRIP
1616 | ProVenger (Selectable) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | 30-60-95-125-150 @ 100, 75 psi | 115-230-360-475-500 @ 7, 6, 5 bar | SHIPS ONLY WITH PISTOL GRIP
1602 | ProVenger (Selectable) - 1" (25 mm) Inlet & PG | 5-10-20-40 @ 100, 75 psi 12-23-34-53 @ 87 psi | 19-40-75-150 @ 7, 6, 5 bar 45-85-130-200 @ 6 bar | SHIPS ONLY WITH PISTOL GRIP
4116 | ProVenger (Fixed) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | 60/95/125/150 @ 100, 75 psi | 230/360/475/550 @ 7, 6, 5 bar | SHIPS ONLY WITH PISTOL GRIP
1520 | SaberJet DSO 1-1/2" (38 mm) Inlet & PG | 1/2, 5/8 | 13, 16 | SHIPS ONLY WITH PISTOL GRIP
1523 | SaberJet - Mid-Range DSO - 1-1/2" (38 mm) Inlet & PG | 3/4, 7/8, 15/16, 1" | 19, 22, 24, 25 | SHIPS ONLY WITH PISTOL GRIP
1528 | SaberJet High-Range DSO - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | 1-1/8 | 28 | SHIPS ONLY WITH PISTOL GRIP
Nozzle Handle, Pistol Grip and Color Kits
Style or Part Number | Name | Description |  | Notes
90040001 | Aftermarket Black Pistol Grip Kit with Color Clips | KIT: Black Pistol Grip, Adapter, Screw and Washers, 6 Color Clips |  | Retrofittable to current nozzle styles
90050001 | Aftermarket Black 2.5" Bail Handle Kit with Color Clips | KIT: Black 2.5" Bail Handle, Roll Pins, 6 Color Clips |  | Retrofittable to current nozzle styles, for use with Mid & High Range Nozzles
90060001 | Aftermarket Black 1.5" Bail Handle Kit with Color Clips | KIT: Black 1.5" Bail Handle, Roll Pins, 6 Color Clips |  | Retrofittable to current nozzle styles, for use with Low-Range Nozzles
90060002 | Aftermarket Color Clip Kit | KIT: 6 Bail Handle Color Clips |  | For use with NEW style Nozzles without Pistol Grip
90070001 | Aftermarket Color Clip Kit | KIT: 6 Bail Handle Color Clips & 6 Pistol Grip Color Clips |  | For use with NEW style Nozzles with Pistol Grip
127476 | NEW Order Nozzle Handle & Pistol Grip Color Clip Kit | KIT: 6 Bail Handle Color Clips & 6 Pistol Grip Color Clips | No Charge with New P.O. Only | Order same time as placing your Nozzle Order with Pistol Grip
127776 | NEW Order Nozzle Handle Color Clip Kit | KIT: 6 Bail Handle Color Clips | No Charge with New P.O. Only | Order same time as placing your Nozzle Order without Pistol Grip
Bumper Colors by Style
Currently Available
Ordering Information
Orders can be sent to akroncare@idexcorp.com, akronoem@idexcorp.com or akronintl@idexcorp.com
Resources
Product Order Forms can be found at akronbrass.com/customer-support-order-forms
www.akronbrass.com
Contact Information
Please contact Customer Care at 800.228.1161 (330.264.5678) or your local Akron Brass District Sales Manager for further questions.
You may also email your inquires to akroncare@idexcorp.com or akronintl@idexcorp.com

## Brass Style Guide
2021 Akron Brass Brass Nozzle Style Guide
For product not listed below including brass and other nozzles refer to akronbrass.com
Municipal & Industrial Brass Nozzles
Style | Standard Description | Flows GPM/LPM | Pressures PSI/BAR | Certifications
535 | Cellar Nozzle with 2-1/2" (65 mm) inlet | 250/950 | 100/7
536 | Cellar Nozzle with 1-1/2" (65 mm) inlet | 95/360 | 50/3.5
1088 | Piercing Nozzle with 1-1/2" (38 mm) Inlet, 3 or 6 feet (914 or 1828 mm) | 125/475 | 100/7
3015 | Brass Fog Nozzle with 1-1/2" (38 mm) Inlet, no Pistol Grip | 95/360 | 100/7
3016 | Brass Fog Nozzle with 1-1/2" (38 mm) Inlet, no Pistol Grip | 125/475 | 100/7
3019 | Brass Fog Nozzle with 1-1/2" (38 mm) Inlet, & Pistol Grip | 95/360 | 100/7
3021 | Brass Fog Nozzle with 1-1/2" (38 mm) Inlet, & Pistol Grip | 125/475 | 100/7
3025 | Brass Fog Nozzle with 1-1/2" (38 mm) Inlet, no Pistol Grip | 250/950 | 100/7
2055 | Fog Applicator with Fog Head with 1-1/2" (38 mm) Inlet & 4, 6, 10 foot Lengths | 95/360 | 100/7
Government & Military Certified Brass Nozzles
Style | Standard Description | Flows GPM/LPM | Pressures PSI/BAR | Certifications
3020 | Brass Navy Shipboard Vari-Nozzle with 1-1/2" (38 mm) Inlet, & Pistol Grip | 95/360 | 100/7 | MIL-N-24408E TY1-T1-1 NSN: 4210-465-1906
3023 | Brass Navy Shipboard Vari-Nozzle with 1-1/2" (38 mm) Inlet, & Pistol Grip | 125/475 | 100/7 | MIL-N-24408E TY1-T1-2 NSN; 4210-00-601-0986
2069 | Brass 4AN Navy Nozzle with Fog Tip with 1-1/2" (38 mm) Inlet, 5/8" Smooth Bore & 2073 Fog Tip | Fog Flow: 52/197, Smooth Bore Flow: 82/310 | 100/7 | Nav Ships: 803-1385834 NSN: 4210-00-392-2943
2074 | Brass 4AN Navy Nozzle with Fog Tip with 2-1/2" (65 mm) Inlet, 1" Smooth Bore & 2077 Fog Tip | Fog Flow: 132/500, Smooth Bore Flow: 210/795 | 100/7 | Nav Ships: 803-1385835 NSN: 4210-00-392-2944
2073 | Brass Navy & Military Fog Tip, 1-1/2" (38 mm) Inlet, Fits Style 2069 |  |  | NSN: 4210-00-372-0867
2077 | Brass Navy & Military Fog Tip, 2-1/2" (65 mm) Inlet, Fits Style 2074 |  |  | NSN: 4210-00-372-0868
3020 | Coast Guard Vari-Nozzle with 1-1/2" Inlet, & Pistol Grip | 95/360 | 100/7 | 162.027/15/0
3022 | Coast Guard Vari-Nozzle with 1-1/2" Inlet, no Pistol Grip | 95/360 | 100/7 | 162.027/16/0
2032 | Coast Guard Nozzle with Fog Tip with 1-1/2" (38 mm) Inlet, 2033 Fog Tip, 5/8" Smooth Bore | Fog Flow: 55/208, Smooth Bore Flow: 90/340 | 100/7 | 162.027/09/0
2046 | Coast Guard Nozzle with Fog Tip with 2-1/2" (65 mm) Inlet, 2047 Fog Tip, 15/16" Smooth Bore | Fog Flow: 106/401, Smooth Bore Flow: 250/950 | 100/7 | 162.027/10/0
2033 | Coast Guard Fog Tip with 1-1/2" (38 mm) Inlet, Fits Style 2032 Nozzle |  |  | 162.027/09/0
2047 | Coast Guard Fog Tip with 2-1/2" (65 mm) Inlet, Fits Style 2046 Nozzle |  |  | 162.027/10/0
2015 | Coast Guard Applicators with Fog Head, 10' with 1-1/2" (38 mm) Inlet, compatible with the 2032 | 54/205 | 100/7 | 162.027/09/0
2225 | Coast Guard Applicators with Fog Head,6', 10' or 12' with 2-1/2" (65 mm) Inlet, compatible with the 2046 | 108/408 | 100/7 | 162.027/10/0 - 12' only
2415 | Coast Guard Applicators with Fog Head,4' with 1-1/2" (38 mm) Inlet, compatible with the 2032 | 54/204 | 100/7 | 162.027/09/0
1034 | Coast Guard Fog Head with 1-1/2" (38 mm) Inlet, Fits Style 2015, 2415 Applicators |  |  | 162.027/09/0
1048 | Coast Guard Fog Head with 2-1/2" (65 mm) Inlet, Fits Style 2225, 2055 Fog Applicators |  |  | 162.027/10/0

## Foam Tube Style Guide
2021 Akron Brass Foam Tube Style Guide
For product not listed below including brass and other nozzles refer to akronbrass.com
Municipal & Industrial Brass Nozzles
Style | Standard Description | Expansion Rate | Nozzle Style | Notes
770 | High Range Turbojet | 12:1 - Low Expansion | 1733, 1744 | 1993 - Current
790 | Low Range Turbojet & Assault Foam Tube | 12:1 - Low Expansion | 1702, 1703, 1704, 1711, 4802 | 2000 - Current
792 | Turbojet Foam Tube | 12:1 - Low Expansion | 1714, 1720 | 1993 - Current
793 | Mid-Range Turbojet, Mid and High Range SaberJet | 12:1 - Low Expansion | 1723, 1737, 1523, 1528 | 1993 - Current
794 | Brass Fog Nozzle Foam Tube | 12:1 - Low Expansion | 3015, 3016, 3019, 3021 | All
796 | Mid Range Turbojet & Assault, Wide Range Turbojet, Low Range SaberJet | 12:1 - Low Expansion | 1723, 1737, 1763, 1766, 4863, 4866, 1520 | All
624 | ProVenger Foam Tube | 12:1 - Low Expansion | 1602 | All
638 | ProVenger Foam Tube | 12:1 - Low Expansion | 1616, 4116 | All
866 | Mid-X Medium Expansion Foam Tube | 50:1 - Medium Expansion | Turbojet 1714 & 1720 | 1993 - Current

## Baffle Head Kits
Style 45XX | Black Dye Hard Coat Baffle Head Kits
Baffle Head Reduction Project for Assault Nozzles
New Baffle Head Kits for:
Style | Flow/Pressure
4863/4866 | 360 LPM @ 700 KPA
4863/4866 | 570 LPM@ 350 KPA
4863/4866 | 550 LPM @ 500 KPA
4863/4866 | 150 GPM @ 50 PSI
4863/4866 | 161 GPM @ 50 PSI
4863/4866 | 175 GPM @ 50 PSI
4863/4866 | 185 GPM @ 50 PSI
4863/4866 | 125 GPM @ 75 PSI
4863/4866 | 150 GPM @ 75 PSI
4863/4866 | 175 GPM @ 75 PSI
4863/4866 | 200 GPM @ 75 PSI
4824/4826 | 250 GPM @ 50 PSI
4824/4826 | 200 GPM @ 75 PSI
4824/4826 | 250 GPM @ 75 PSI
4824/4826 | 300 GPM @ 75 PSI
4820/4815 | 570 LPM @ 350 KPA
4820/4815 | 95 GPM @ 75 PSI
4820/4815 | 150 GPM @ 50 PSI
4820/4815 | 550 LPM @ 500 KPA
4820/4815 | 125 GPM @ 75 PSI
4820/4815 | 125 GPM @ 100 PSI
4820/4815 | 175 GPM @ 75 PSI

## Style Guide Old to New
AKRON BRASS TURBOJET, ASSAULT, SHUTOFF & TIP CROSS REFERENCE GUIDE
For product not listed below including brass and other nozzles refer to akronbrass.com |  |  |  |  | 2020
Turbojet® Nozzles & Tips
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Legacy Style | Description | Status | Upgrade Style | Standard Description | Notes
1714 | 1-1/2" (38 mm) Turbojet Tip | No Style Change | 1714 | Turbojet Tip with 1-1/2" (38 mm) Inlet
1715 | 1-1/2" (38 mm) Turbojet Nozzle | Discontinued | 1720 | Turbojet Nozzle with 1-1/2" (38 mm) Inlet & PG
1717 | 1-1/2" (38 mm) Turbojet Tip with Twist Shutoff | Discontinued | 1714 | Turbojet Tip with 1-1/2" (38 mm) Inlet
1720 | 1-1/2" (38 mm) Turbojet Nozzle with Pistol Grip | No Style Change | 1720 | Turbojet Nozzle with 1-1/2" (38 mm) Inlet & PG
1722 | Mid-Range Turbojet Nozzle | Discontinued | 1723 | Mid-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1723 | Mid-Range Turbojet Nozzle with Pistol Grip | No Style Change | 1723 | Mid-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1724 | Mid-Range Turbojet Tip with Twist Shutoff | Discontinued | 1737 | Mid-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1737 | Mid-Range Turbojet Tip | No Style Change | 1737 | Mid-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1762 | Wide-Range Turbojet Nozzle | Discontinued | 1763 | Wide-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1763 | Wide-Range Turbojet Nozzle with Pistol Grip | No Style Change | 1763 | Wide-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1766 | Wide-Range Turbojet Tip | No Style Change | 1766 | Wide-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1767 | Wide-Range Turbojet Tip with Twist Shutoff | Discontinued | 1766 | Wide-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1733 | High-Range Turbojet Nozzle with Pistol Grip | No Style Change | 1733 | High-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1744 | High-Range Turbojet Tip | No Style Change | 1744 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1701 | 1" (25 mm) Turbojet Nozzle | Discontinued | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
1702 | 1" (25 mm) Turbojet with Pistol Grip | No Style Change | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
1703 | 1" (25 mm) Turbojet Tip with 1-1/2" (38 mm) Inlet | No Style Change | 1703 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet & PG
1704 | 1" (25 mm) Turbojet Nozzle with Pistol Grip | No Style Change | 1704 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
1711 | 1" (25 mm) Turbojet Tip with 1-1/2" (38 mm) Inlet | No Style Change | 1711 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1725 | High-Range Turbojet Nozzle | Discontinued | 1733 | High-Range Turbojet Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
1727 | High-Range Turbojet Tip with Twist Shutoff | Discontinued | 1744 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
1772 | 1" (25 mm) 180° Turbojet with Pistol Grip | No Style Change | 1772 | Low-Range Turbojet 180° Fog 1" (25 mm) or 2-1/2" (65 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
3716 | 1-1/2" (38 mm) Industrial Turbojet Nozzle without Pistol Grip | No Style Change | 3716 | Industrial Turbojet Nozzle with 1-1/2" (38 mm) Inlet | SHIPS ONLY WITHOUT PISTOL GRIP
3721 | 1-1/2" (38 mm) Industrial Turbojet Nozzle | No Style Change | 3721 | Industrial Turbojet Nozzle with 1-1/2" (38 mm) Inlet | SHIPS ONLY WITH PISTOL GRIP
3725 | 2-1/2" (65 mm) Industrial Turbojet Nozzle without Pistol Grip | No Style Change | 3725 | High-Range Industrial Turbojet Nozzle 2-1/2" (65 mm) Inlet | SHIPS ONLY WITHOUT PISTOL GRIP
Turbojet® Break-apart Nozzle Options
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Legacy Style | Description | Status | Upgrade Style | Standard Description | Notes
1716 | 1-1/2" (38 mm) Turbojet Breakapart Nozzle | Discontinued | 1714 & 2127 | Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1718 | 1-1/2" (38 mm) Turbojet Breakapart Nozzle with Pistol Grip | Discontinued | 1714 & 2127 | Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1734 | Mid-Range Turbojet Breakapart Nozzle | Discontinued | 1737 & 2127 | Mid-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1735 | Mid-Range Turbojet Breakapart Nozzle with Pistol Grip | Discontinued | 1737 & 2127 | Mid-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1764 | Wide-Range Turbojet Breakapart Nozzle | Discontinued | 1766 & 2127 | Wide-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1765 | Wide-Range Turbojet Breakapart Nozzle with Pistol Grip | Discontinued | 1766 & 2127 | Wide-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1726 | High-Range Turbojet Breakapart Nozzle | Discontinued | 1744 & 2126 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 2-1/2" (65 mm) Inlet & PG
1728 | High-Range Turbojet Breakapart Nozzle | Discontinued | 1744 & 2127 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
1736 | High-Range Turbojet Breakapart Nozzle with Pistol Grip | Discontinued | 1744 & 2126 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 2-1/2" (65 mm) Inlet & PG
1738 | High-Range Turbojet Breakapart Nozzle with Pistol Grip | Discontinued | 1744 & 2127 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway and 1-1/2" (38 mm) Inlet & PG
2730 | High-Range Turbojet Tip with Axial Playpipe | Discontinued | 1744 & 2390 | High-Range Turbojet Tip with 1-1/2" (38 mm) Inlet | Playpipe with 1-3/8 (35 mm) and Waterway 2-1/2" (65 mm) Inlet
Assault Nozzles & Tips
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Legacy Style | Description |  | Upgrade Style | Standard Description | Notes
4714 | 1-1/2" (38 mm) Assault Tip with Molded Teeth | Discontinued | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | + 48630915 Molded Teeth Kit
4715 | 1-1/2" (38 mm) Assault Nozzle with Molded Teeth | Discontinued | 4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG | + 48630915 Molded Teeth Kit
4717 | 1-1/2" (38 mm) Assault Tip with Twist Shutoff and Molded Teeth | Discontinued | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | + 48630915 Molded Teeth Kit
4720 | 1-1/2" (38 mm) Assault with Pistol Grip and Molded Teeth | Discontinued | 4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG | + 48630915 Molded Teeth Kit
4814 | 1-1/2" (38 mm) Assault Tip with Spinning Teeth | Discontinued | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet
4815 | 1-1/2" (38 mm) Assault Nozzle with Spinning Teeth | Discontinued | 4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG
4817 | 1-1/2" (38 mm) Assault Tip with Twist Shutoff and Spinning Teeth | Discontinued | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet
4820 | 1-1/2" (38 mm) Assault Nozzle with Pistol Grip and Spinning Teeth | Discontinued | 4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG
4862 | Mid-Range Assault Nozzle | Discontinued | 4863 | Mid-Range Assault Nozzle with 1-1/2" (38 mm) Inlet & PG
4863 | Mid-Range Assault Nozzle with Pistol Grip | No Style Change | 4863 | Mid-Range Assault Nozzle 1-1/2" (38 mm) Inlet & PG
4866 | Mid-Range Assault Tip | No Style Change | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet
4867 | Mid-Range Assault Tip with Twist Shutoff | Discontinued | 4866 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet
4712 | 1" (25 mm) Assault Nozzle with Pistol Grip and Molded Teeth | Discontinued - Order Current 1702 or 1602 | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
4713 | 1" (25 mm) Assault Nozzle with Molded Teeth | Discontinued - Order Current 1702 or 1602 | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
4722 | High-Range Assault Nozzle Less Teeth | Discontinued | 4826 | High-Range Assault Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | + 48260719 Less Teeth Kit
4724 | High-Range Assault Tip Less Teeth | Discontinued | 4824 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | + 48260719 Less Teeth Kit
4726 | High-Range Assault with Pistol Grip Less Teeth | Discontinued | 4826 | High-Range Assault Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG | + 48260719 Less Teeth Kit
4801 | 1" (25 mm) Assault Nozzle with Spinning Teeth | Discontinued | 4802 | Low-Range Assault Nozzle with 1" (25 mm) Inlet & PG
4802 | 1" (25 mm) Assault with Pistol Grip and Spinning Teeth | No Style Change | 4802 | Low-Range Assault Nozzle with 1" (25 mm) Inlet & PG
4803 | 1" (25 mm) Assault Tip with 1-1/2" (38 mm) Inlet | Discontinued | 1703 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet & PG
4804 | 1" (25 mm) Assault Tip with Spinning Teeth | Discontinued | 1704 | Low-Range Turbojet Tip with 1-1/2" (38 mm) Inlet
4812 | 1" (25 mm) Assault Nozzle with Pistol Grip and Spinning Teeth | Discontinued - Order Current 1702 or 1602 | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
4813 | 1" (25 mm) Assault Nozzle with Spinning Teeth | Discontinued - Order Current 1702 or 1602 | 1702 | Low-Range Turbojet Nozzle with 1" (25 mm) Inlet & PG
4822 | High-Range Assault Nozzle with Spinning Teeth | Discontinued | 4826 | High-Range Assault Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
4823 | High-Range Assault Nozzle with Pistol Grip and Spinning Teeth | Discontinued | 4826 | High-Range Assault Nozzle with 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
4824 | High-Range Assault Tip with Spinning Teeth | No Style Change | 4824 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet |  | Effective+F8+J77
4825 | High-Range Assault Nozzle with Spinning Teeth | Discontinued | 4826 | High-Range Assault Nozzle 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
4826 | High-Range Assault with Pistol Grip and Spinning Teeth | No Style Change | 4826 | High-Range Assault Nozzle with Removable Pistol Grip 1-1/2" (38 mm) or 2-1/2" (65 mm) Inlet & PG
4827 | High-Range Assault Tip with Twist Shutoff and Spinning Teeth | Discontinued | 4824 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet
4837 | High-Range Assault Tip with Twist Shutoff and Spinning Teeth | Discontinued | 4824 + 2126 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
Assault Break-apart Nozzle Options
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Legacy Style | Description |  | Upgrade Style | Standard Description | Description
4716 | 1-1/2" (38 mm) Assault Breakapart Nozzle with Molded Teeth | Discontinued | 4866 & 2127 + 48630915 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet + MOLDED TEETH KIT | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4718 | 1-1/2" (38 mm) Assault Breakapart Nozzle w/Pistol Grip & Molded Teeth | Discontinued | 4866 & 2127 + 48630915 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet + MOLDED TEETH KIT | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG | Effective
4816 | 1-1/2" (38 mm) Assault Breakapart Nozzle with Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4818 | 1-1/2" (38 mm) Assault Breakapart Nozzle w/ Pistol Grip & Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4819 | 1-1/2" (38 mm) Assault Breakapart Nozzle with Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4821 | Mid-Range Assault Breakapart Nozzle with Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4864 | Mid-Range Assault Breakapart Nozzle with Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4865 | 1-1/2" (38 mm) Assault Breakapart Nozzle with Spinning Teeth | Discontinued | 4866 & 2127 | Mid-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4830 | High-Range Assault Tip with Axial Playpipe | Discontinued | 4824 & 2390 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Playpipe with 1-3/8 (35 mm) Waterway 2-1/2" (65 mm) Inlet & PG
4834 | High-Range Assault Breakapart Nozzle with Pistol Grip | Discontinued | 4824 & 2127 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4835 | High-Range Assault Breakapart Nozzle | Discontinued | 4824 & 2127 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
4836 | High-Range Assault Breakapart Nozzle with Pistol Grip | Discontinued | 4824 & 2126 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
4838 | High-Range Assault Breakapart Nozzle | Discontinued | 4824 & 2126 | High-Range Assault Tip with 1-1/2" (38 mm) Inlet | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
Shutoffs, Tips and Other Nozzles
Nozzles & Shutoffs Ship With Pistol Grip unless Specified Without on Purchase Order
Legacy Style | Description |  | Upgrade Style | Standard Description | Notes
538 | Discontinued - Cellar Nozzle Applicator | Discontinued | 535/536 | Cellar Nozzles 2-1/2" (65 mm) or 1-1/2" (38 mm)
1700 | Discontinued - Bush Nozzle | Discontinued | 1030 | Forestry Nozzle
3120 | Discontinued - Foam Aeration Nozzle - 120 gpm | Discontinued | 3952 | Foam Nozzle - 95 gpm
3951 | Discontinued - Foam Aeration Nozzle with Pickup Tube - 95 gpm | Discontinued | 3952 | Foam Nozzle - 95 gpm
417 | Discontinued - Straight Tip 1-1/2" (38 mm) Plain Tip - Brass or Chrome | Discontinued | 416 | Pyrolite® 1-1/2" (38 mm) Tread Tip
438 | Discontinued - Straight Tip 1-1/2" (38 mm) Plain Tip - Brass 3/8, 5/8" | Discontinued |  | No Replacement
439 | Double Stacked Tips | No Style Change | 439 | Double Stacked Tips
1410 | Discontinued - Straight Tip 1" (25 mm) Plain Tip | Discontinued | 1417 | Straight Tip 1-1/2" (38 mm) Plain Tip
1420 | Triple Stacked Tips | No Style Change | 1420 | Triple Stacked Tips
1417 | 1-1/2" (38 mm) Plain Tip | No Style Change | 1417 | Straight Tip 1-1/2" (38 mm) Plain Tip
1499 | 1-1/2" (38 mm) Plain Tip | No Style Change | 1499 | 1-1/2" (38 mm) Plain Tip
2101 | Shutoff 1" waterway, 1" inlet/outlet no Pistol Grip | Discontinued | 2102 | Shutoff with 1 (25 mm) Waterway with 1" (25 mm) Inlet & PG
2102 | Shutoff 1" waterway, 1" inlet/outlet with Pistol Grip | No Style Change | 2102 | Shutoff with 1 (25 mm) Waterway with 1" (25 mm) Inlet & PG
2108 | Shutoff 1" waterway, 1" inlet, 1-1/2" outlet with Pistol Grip | Discontinued |  | No Replacement
2115 | Shutoff 1" waterway, 1-1/2" inlet, 1-1/2" outlet no Pistol Grip | Discontinued | 2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
2116 | Shutoff 1" waterway, 1-1/2" inlet, 1-1/2" outlet with Pistol Grip | Discontinued | 2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
2125 | Shutoff with 1-3/8 (35 mm) Waterway no Pistol Grip 2-1/2" (65 mm) Inlet | Discontinued | 2126 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet
2126 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet | No Style Change | 2126 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet
2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG | No Style Change | 2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
2129 | Shutoff with 1-3/8 (35 mm) Waterway no Pistol Grip 1-1/2" (38 mm) Inlet | Discontinued | 2127 | Shutoff with 1-3/8 (35 mm) Waterway with 1-1/2" (38 mm) Inlet & PG
2390 | Axial Playpipe 2-1/2" (65 mm) Inlet | No Style Change | 2390 | Axial Playpipe 2-1/2" (65 mm) Inlet
2393 | Axial Playpipe with Tips (1420) - 2-1/2" (65 mm) Inlet | No Style Change | 2393 | Axial Playpipe with Tips (1420) - 2-1/2" (65 mm) Inlet
2430 | Saber™ Shutoffs with Integral Tip with 1-1/2" (38 mm) Inlet | Discontinued | 2431 | Saber™ Shutoffs with Integral Tip with 1-1/2" (38 mm) Inlet & PG
2431 | Saber™ Shutoffs with Integral Tip with 1-1/2" (38 mm) Inlet & PG | No Style Change | 2431 | Saber™ Shutoffs with Integral Tip with 1-1/2" (38 mm) Inlet & PG
2432 | Saber™ Shutoffs with Integral Tip with 2-1/2" (65 mm) Inlet | Discontinued | 2433 | Saber™ Shutoffs with Integral Tip with 2-1/2" (65 mm) Inlet & PG
2433 | Saber™ Shutoffs with Integral Tip with 2-1/2" (65 mm) Inlet & PG | No Style Change | 2433 | Saber™ Shutoffs with Integral Tip with 2-1/2" (65 mm) Inlet & PG
1441 | Pyrolite Shutoff with Dual Stacked Tips with 1-1/2" (38 mm) Inlet & PG | No Style Change | 1441 | Pyrolite Shutoff with Dual Stacked Tips with 1-1/2" (38 mm) Inlet & PG
1443 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG | No Style Change | 1443 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
1445 | Blitz Tip (1499) with 1-1/2" (38 mm) Inlet & PG | No Style Change | 1445 | Blitz Tip with 1-1/2" (38 mm) Inlet & PG
1446 | Blitz Tip (1499) with 2-1/2" (65 mm) Inlet & PG | No Style Change | 1446 | Blitz Tip with 2-1/2" (65 mm) Inlet & PG
1440 | Pyrolite Shutoff with Dual Stacked Tips no Pistol Grip 1-1/2" (38 mm) Inlet | Discontinued Effective 7/1/19 | 1441 | Pyrolite Shutoff with Dual Stacked Tips with 1-1/2" (38 mm) Inlet & PG
1442 | Pyrolite Shutoff with Dual Stacked Tips no Pistol Grip 2-1/2" Inlet | Discontinued Effective 7/1/19 | 1443 | Shutoff with 1-3/8 (35 mm) Waterway with 2-1/2" (65 mm) Inlet & PG
1820 | UltraJet - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | No Style Change | 1820 | UltraJet - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
1616 | ProVenger (Selectable) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | No Style Change | 1616 | ProVenger (Selectable) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
1602 | ProVenger (Selectable) - 1" (25 mm) Inlet & PG | No Style Change | 1602 | ProVenger (Selectable) - 1" (25 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
4116 | ProVenger (Fixed) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | No Style Change | 4116 | ProVenger (Fixed) - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
1520 | SaberJet DSO 1-1/2" (38 mm) Inlet & PG | No Style Change | 1520 | SaberJet DSO 1-1/2" (38 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
1523 | SaberJet - Mid-Range DSO - 1-1/2" (38 mm) Inlet & PG | No Style Change | 1523 | SaberJet - Mid-Range DSO - 1-1/2" (38 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
1528 | SaberJet High-Range DSO - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | No Style Change | 1528 | SaberJet High-Range DSO - 1-1/2" (38 mm), 2-1/2" (65 mm) Inlet & PG | SHIPS ONLY WITH PISTOL GRIP
NEW Nozzle Handle, Pistol Grip and Color Kits
Style or Part Number | Name | Description |  | Notes
90040001 | Aftermarket Black Pistol Grip Kit with Color Clips | KIT: Black Pistol Grip, Adapter, Screw and Washers, 6 Color Clips |  | Retrofittable to current nozzle styles
90050001 | Aftermarket Black 2.5" Bail Handle Kit with Color Clips | KIT: Black 2.5" Bail Handle, Roll Pins, 6 Color Clips |  | Retrofittable to current nozzle styles, for use with Mid & High Range Nozzles
90060001 | Aftermarket Black 1.5" Bail Handle Kit with Color Clips | KIT: Black 1.5" Bail Handle, Roll Pins, 6 Color Clips |  | Retrofittable to current nozzle styles, for use with Low-Range Nozzles
90060002 | Aftermarket Color Clip Kit | KIT: 6 Bail Handle Color Clips |  | For use with NEW style Nozzles without Pistol Grip
90070001 | Aftermarket Color Clip Kit | KIT: 6 Bail Handle Color Clips & 6 Pistol Grip Color Clips |  | For use with NEW style Nozzles with Pistol Grip
127476 | NEW Order Nozzle Handle & Pistol Grip Color Clip Kit | KIT: 6 Bail Handle Color Clips & 6 Pistol Grip Color Clips | No Charge with New P.O. Only | Order same time as placing your Nozzle Order with Pistol Grip
127776 | NEW Order Nozzle Handle Color Clip Kit | KIT: 6 Bail Handle Color Clips | No Charge with New P.O. Only | Order same time as placing your Nozzle Order without Pistol Grip
Bumper Colors by Style
Currently Available
Ordering Information
Orders can be sent to akroncare@idexcorp.com, akronoem@idexcorp.com or akronintl@idexcorp.com
Resources
Product Order Forms can be found at akronbrass.com/customer-support-order-forms
www.akronbrass.com
Contact Information
Please contact Customer Care at 800.228.1161 (330.264.5678) or your local Akron Brass District Sales Manager for further questions.
You may also email your inquires to akroncare@idexcorp.com or akronintl@idexcorp.com